## Slide 1
MATLAB Data Filtering
02/09/2022
Protocol:
*4th Order Butterworth
Low pass filter (500Hz)

## Slide 2
MATLAB Data Filtering
02/09/2022
Protocol:
*4th Order Butterworth
2. High pass filter (10Hz)

## Slide 3
MATLAB Data Filtering
02/09/2022
Protocol:
2. Full Wave Rectification

## Slide 4
MATLAB Data Filtering
02/09/2022
Filtering Methods
Raw Data – Blue
Filtered 10/500 Red
Filtered 66/215 Green

## Slide 5
RMS
Moving window of 5 data points

## Slide 7: MATLAB Code
Onset (slope (>1st derivative of the data 2.5)
Offset (slope(< avg baseline +(.3 millivolts) 5 points
Duration Between Onset – Offset
Area under the curve
Area under the curve for 5 trials summed